## Slide 1: Nuclear Challenges in Fusion Reactor Design
Michael Loughlin
Central Integration Office

## Slide 2: Fission vs Fusion
Fission | Fusion
Reactor Physics | Plasma Physics
- | Vacuum
- | Magnetic fields
- | Cryogenics
Water Cooling | Water Cooling
Criticality | -
Fission Products | Tritium
 | Additional Heating
Diagnostics | Diagnostics
Radiation Damage | Radiation Damage
Waste | Waste

## Slide 3: Fission & Fusion

## Slide 4: Reactor Cores
Image copyright is held by EFDA-JET.

## Slide 5: Reactor Size
By Original:antoine fleitzVector:Doanri - Own work based on: Gen II nuclear reactor vessels sizes.png, CC BY-SA 4.0, https://commons.wikimedia.org/w/index.php?curid=59264768
Copyright © 2005 David Maisonnier. Published by Elsevier B.V.

## Slide 6: Neutron Energy

## Slide 7: Neutron Sources
D-D
T-T
Be(H,n)
Be(He,n)
Runaway electrons
NBI
Etc…

## Slide 8: Fusion Power Production
ITER 500-700MW, energy amplification Q>10
Pulse duration 400s to 3000s
The huge leap in neutron production in fusion experiments means that extensive nuclear analysis is required for ITER at an unprecedented level.
  level of detail required.
  the variety of radiation sources,
  the shielding attenuation required,
  the complexity of the sources,
  the complexity of the geometry,
  large physical size of the installation,
As a result of this unprecedented challenge the latest techniques for analysis, variation reduction and data display are being employed.

## Slide 9: Tokamak Complex

## Slide 10: Radiation Transport Simulations
Courtesy Rafael Juarez et al., UNED

## Slide 11
Complexity of Geometry

## Slide 12: Nuclear responses
TF coil heating
Dose to insulation
Fast neutron flux
VV heating
Damage
Blanket and divertor heating
Module activation
Decay heat
Streaming
Water activation

## Slide 13: Vacuum Vessel Heating

## Slide 14: Activated Water
Activation of Water
  On ITER water will be used to cool the divertor, blanket modules, vacuum vessel, the neutral beam injectors, and the radio-frequency heating and diagnostic systems.
  Activity from water arises because of the production of 16N and 17N due to 16O(n,p)16N (10.5MeV threshold) and 17O(n,p)17N reactions. Tritium and 19O are also produced.
16N | Half-life 7.13s | β- 100% γ 6.13MeV (69%), 7.12MeV (5%)
17N | Half-life 4.17s | β- 100% then delayed neutron (1 MeV) decay (95%) γ 871keV (3.7%)

## Slide 15: Activated Water
Activated water sources
IBED PHTS
NBI PHTS
L3-HV Deck
room
L3-L4
In-bioshield
Out-bioshield
VVPHTS: In UPC, VS#8, LPC, B2-north gallery and DRT room (B2-B1)

## Slide 16: Gamma Dose from Water

## Slide 17: Variety of Radiation Sources
Plasma
Activated water
Activated Blankets, divertor cassettes, port plugs
Activated corrosion products
Activated dust

## Slide 18: Complexity of Source

## Slide 19: Example: Absorbed dose in Si
Total
Activated water
Plasma
16N isotope in Activated water is the main source of total ionizing dose (TID) outside bio-shield

## Slide 20: Neutron Activation

## Slide 21: Example: Concrete

## Slide 22: Comparison of dose rates

## Slide 23: Control of Impurities

## Slide 24: Material Transformation
In addition to the production of radio-active isotopes, materials can be transformed under neutron irradiation.
One example is the transformation of gold into mercury. Mercury is incompatible with vacuum.
197Au + n → 198Au + γ → 198Hg
β-

## Slide 25: Neutron Damage

## Slide 26: Neutron Damage
Neutron damage is caused by atomic displacement in primarily elastic collisions and gas production (H and He).
This leads to degradation of the mechanical properties of the material (e.g. tensile strength, fracture toughness and fatigue).
Differences in neutron spectrum can be accounted for by using displacements per atoms (dpa) as a correlation parameter at least for low doses)

## Slide 27: Radio-active Waste
Details of regulations may vary depending on the host nation and are nuclide specific.
Activation of impurities is critical.
Some nuclides which can effect radio-active waste categorization are listed
Nuclide | Half-life (yrs)
3H | 12.32
36Cl | 3.01×105
60Co | 5.271
63Ni | 101
94Nb | 2.0×104
108mAg | 420
134Cs | 2.065
137Cs | 30.07
151Sm | 90
152Eu | 13.54
154Eu | 8.593

## Slide 28: Other Radiation Effects
Most materials are affected by neutron irradiation which can impact their proper operation.
Hydrocarbons degrade
Single particle effects in electronics
Darkening of optical fibres
Radiation induced EMF
Etc….

## Slide 29: Safety issues
Activation
  Decay heat
  Occupational radiation exposure (ORE)
  Rad-waste
Damage
  Confinement barriers
  Qualification of safety related components
  Operability of plant

## Slide 30: Impacts on Safety
Neutron irradiation cause multiple effects on materials
  Transformation
  Activation
    Radioactivity
    Decay Heat
  Damage (mechanical properties, gas production)
The effects may impact Safety in the following respects:
  Integrity of confinement barrier (damage and decay heat)
  Operation and integrity of safety important components
  Impact on ORE
  Generation and categorization of radio-active waste

## Slide 31: External Exposure

## Slide 32: Contamination: Tritium
Soft beta emission, not an external radiation hazard
HTO can permeate into the body through intact skin or cuts in skin or
ingestion from the skin by water/food route.
Radioactive Decay: | β– emitter, Emax- 18.6 keV
Specific activity: | 3.7×1014 Bq/g
Radioactive decay Half-Life: | 12.3 years
Biological removal Half life: | 12 days ( HTO form)

## Slide 33: Activated Corrosion Products
Radionuclide
Composition
ACP deposits contribute to both external and internal exposures to maintenance workers
Major contributor to worker dose in maintenance – 60Co gamma ( ̴75-80 % of total dose)
Notes: Add notes here

## Slide 34: Summary & Conclusions
ITER brings us a step closer to a fusion reactor
The nuclear challenges are being addressed now
Further issues are likely to be uncovered and will have to be met in the realization of fusion as a viable source of energy.

## Slide 35: Thanks